{"text_format":"2","workbook":"xlsx","n_sheets":4,"sheets":["oferta","existentes","rtr","mct"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"oferta","index":0,"n_rows":3,"n_cols":9,"rows_kept":3,"cut":false,"hidden":false,"merged":[]}
["cod_agente","tko","bus_io","bus_jo","MWo","oferta","precio","per","cper"]
["IDEAL","T1",6096,27161,30,1214877.5999999999,{"$f":"+F2/(24*31*E2)","v":54.429999999999993},{"$f":"+E2*0.05","v":1.5},{"$f":"+G2*24*31*H2","v":60743.87999999999}]
["CRC","T2",50200,27161,19,792746.88000000012,{"$f":"+F3/(24*31*E3)","v":56.080000000000005},{"$f":"+E3*0.05","v":0.95000000000000007},{"$f":"+G3*24*31*H3","v":39637.344000000005}]

{"sheet":"existentes","index":1,"n_rows":37,"n_cols":6,"rows_kept":37,"cut":false,"hidden":false,"merged":[]}
["cod_agente","tke","bus_ie","bus_je","MWe","per"]
["1GGENHIXAC","T1",1710,3300,21,1.0500000209509004]
["1GGENHIXAC","T2",1124,28371,28,0]
["1GGENINGSD","T3",1710,4402,10,0.50000000993670035]
["1GGENINGSD","T4",1710,4402,10,0.50000000993670035]
["1GGENRENGU","T1",1124,27211,5,0]
["1GGENRENGU","T2",1124,28161,5,0]
["1GGDRXOLPR","T3",1126,27131,2,0]
["2C_C07","T4",1126,28161,5.5,0.16539820874660016]
["2C_C03","T1",6270,27211,5,0]
["2C_C03","T2",1126,27211,5,0.25000000339380968]
["2C_C03","T3",1126,28161,5,0.148112831143]
["2C_C03","T4",1710,27211,5,0]
["2C_C08","T1",1126,27211,5,0.25000000339380968]
["2C_C08","T2",1126,27211,5,0.25000000339380968]
["2C_C08","T3",1126,27211,5,0.25000000339380968]
["2C_C08","T4",1126,27211,5,0.25000000339380968]
["2C_C11","T1",50100,27131,5,0]
["2C_C11","T2",1124,27131,5,0]
["2C_C11","T3",1126,28161,5,0.14811283110176987]
["2C_C11","T4",1126,27211,5,0.25000000339380968]
["2C_C11","T1",1126,27211,10,0.50000000839379943]
["2G_C14","T2",1126,28161,10,0.33716089422789963]
["2C_C32","T3",1124,28161,1,0]
["2C_C34","T4",1124,27481,5,0]
["2C_C34","T1",50200,27131,9.5,0]
["2C_C06","T2",1710,28181,20,0]
["2C_C51","T3",1124,28161,5,0]
["2C_C51","T4",1126,28161,5.4,0.23802119319000958]
["2C_C51","T1",1126,28161,9,0.29653240856574925]
["2C_C56","T2",1126,28161,20,0.8093850883442002]
["2C_C56","T3",1710,28181,15,0]
["2C_C56","T4",1710,28181,20,0]
["2C_C56","T1",1124,28161,20,0]
["2C_C59","T2",1124,27481,0.1,1.3022499745218852E-10]
["6GIDEALPMA","T3",6008,27211,4,0]
["6GIDEALPMA","T4",6096,27211,10,0]

{"sheet":"rtr","index":2,"n_rows":809,"n_cols":7,"rows_kept":809,"cut":false,"hidden":false,"merged":[]}
["bus_i","bus_j","ckt","x","r","max","min"]
[1101,1124,1,2.6519999999999998E-2,4.1000000000000003E-3,374,374]
[1101,1140,1,5.6100000000000004E-3,2.8300000000000001E-3,390.4,390.4]
[1101,1908,1,1.4645E-2,1.977E-3,453.7,453.7]
[1102,1105,1,4.0759999999999998E-2,8.7799999999999996E-3,294.5,294.5]
[1102,1106,1,2.7999999999999998E-4,5.0000000000000002E-5,491.6,491.6]
[1102,1106,2,3.6999999999999999E-4,1E-4,482.8,482.8]
[1102,1109,1,3.0640000000000001E-2,5.8900000000000003E-3,491.6,491.6]
[1102,1111,1,1.83E-3,5.1999999999999995E-4,245.8,245.8]
[1102,1140,1,7.4200000000000004E-3,1.14E-3,370.6,370.6]
[1102,1151,1,0.1636,0,100,100]
[1103,1141,1,5.5199999999999997E-3,1.07E-3,558.5,558.5]
[1103,1141,2,5.5199999999999997E-3,1.07E-3,558.5,558.5]
[1106,1109,1,3.0269999999999998E-2,5.8199999999999997E-3,491.6,491.6]
[1106,1113,1,0.11570999999999999,0,180,180]
[1106,1120,1,3.0400000000000002E-3,5.5999999999999995E-4,491.6,491.6]
[1106,1132,1,1.201E-2,2.2300000000000002E-3,491.6,491.6]
[1106,1151,1,0.11899999999999999,0,120,120]
[1107,1108,1,1.247E-2,2.4099999999999998E-3,558.5,558.5]
[1107,1108,2,1.247E-2,2.4099999999999998E-3,558.5,558.5]
[1107,1109,2,8.4899999999999993E-3,1.64E-3,558.5,558.5]
[1107,1109,1,8.4899999999999993E-3,1.64E-3,558.5,558.5]
[1107,1155,2,6.1490000000000003E-2,0,195,195]
[1107,1155,1,6.1490000000000003E-2,0,234,234]
[1107,1170,1,0.12286,2.2399999999999998E-3,390.4,390.4]
[1108,1153,2,8.3330000000000001E-2,0,150,150]
[1108,1153,3,8.3330000000000001E-2,0,150,150]
[1108,1153,4,8.3330000000000001E-2,0,150,150]
[1108,1444,1,5.1139999999999998E-2,9.92E-3,558.5,558.5]
[1108,1444,2,5.1139999999999998E-2,9.92E-3,558.5,558.5]
[1108,1771,1,5.2170000000000001E-2,8.0700000000000008E-3,374,374]
[1109,1154,4,0.15429000000000001,0,120,120]
[1109,1154,5,6.1490000000000003E-2,0,195,195]
[1109,1154,3,8.3330000000000001E-2,0,150,150]
[1110,1119,1,3.773E-2,4.7499999999999999E-3,424,424]
[1110,1145,1,1.9220000000000001E-2,3.5699999999999998E-3,491.6,491.6]
[1110,1306,1,0.11570999999999999,0,180,180]
[1113,1115,1,3.3090000000000001E-2,9.2399999999999999E-3,147.5,147.5]
[1113,1502,1,7.0860000000000006E-2,0,60,60]
[1113,1755,1,4.7030000000000002E-2,1.355E-2,147.5,147.5]
[1114,1115,2,8.1339999999999996E-2,2.3199999999999998E-2,167.6,167.6]
[1114,1122,1,5.475E-2,1.562E-2,167.6,167.6]
[1114,1154,2,8.2000000000000003E-2,0,75,75]
[1114,1154,1,8.2000000000000003E-2,0,90,90]
[1115,1122,1,2.6620000000000001E-2,7.6E-3,167.6,167.6]
[1119,1304,1,0.12330000000000001,0,180,180]
[1119,1820,1,6.361E-2,0,150,150]
[1119,1841,1,3.2919999999999998E-2,3.9699999999999996E-3,438.2,438.2]
[1120,1121,1,2.802E-2,6.0200000000000002E-3,245.8,245.8]
[1120,1140,1,4.4000000000000002E-4,2.2000000000000001E-4,390.4,390.4]
[1122,1174,1,2.0740999999999999E-2,5.7029999999999997E-3,117,117]
[1124,1129,1,3.8519999999999999E-2,7.1900000000000002E-3,390.4,390.4]
[1124,29161,1,8.2669999999999993E-2,1.2789999999999999E-2,374,374]
[1126,1129,2,1.4400000000000001E-3,2.7999999999999998E-4,558.5,558.5]
[1126,1434,1,0.11700000000000001,0,100,100]
[1126,29162,1,1.7829999999999999E-2,3.3400000000000001E-3,491.6,491.6]
[1128,1110,1,9.9930000000000005E-2,0,245,245]
[1128,14320,1,1.7389999999999999E-2,1.2099999999999999E-3,1517,1517]
[1131,1174,1,1.3952000000000001E-2,3.833E-3,117,117]
[1132,1145,1,3.875E-2,7.1999999999999998E-3,491.6,491.6]
[1132,1219,1,2.332E-2,3.5799999999999998E-3,365.54,365.54]
[1140,1166,1,8.1060000000000004E-3,1.4040000000000001E-3,438.2,438.2]
[1141,1444,1,2.9950000000000001E-2,5.8199999999999997E-3,558.5,558.5]
[1141,1444,2,2.9950000000000001E-2,5.8199999999999997E-3,558.5,558.5]
[1141,1771,1,6.9556999999999994E-2,0.12046,438.2,438.2]
[1141,1845,1,2.3439999999999999E-2,3.9199999999999999E-3,514.70000000000005,514.70000000000005]
[1141,1845,2,2.3439999999999999E-2,3.9199999999999999E-3,514.70000000000005,514.70000000000005]
[1151,1240,1,0.13503999999999999,3.8960000000000002E-2,73.7,73.7]
[1151,1504,1,7.3639999999999997E-2,0,36,36]
[1151,12177,1,7.2940000000000005E-2,1.7690000000000001E-2,94.4,94.4]
[1151,12204,1,1.7409999999999998E-2,4.4099999999999999E-3,94.4,94.4]
[1151,12205,1,1.643E-2,4.1700000000000001E-3,94.41,94.41]
[1151,12241,1,0.14893999999999999,4.2970000000000001E-2,73.7,73.7]
[1153,1408,1,0.28094999999999998,8.1049999999999997E-2,83.8,83.8]
[1153,1503,2,4.8599999999999997E-2,0,60,60]
[1153,1505,3,4.8599999999999997E-2,0,60,60]
[1153,1518,4,4.8599999999999997E-2,0,60,60]
[1154,1159,1,1.6389999999999998E-2,5.1200000000000004E-3,83.8,83.8]
[1154,1163,1,6.3299999999999997E-3,1.5399999999999999E-3,94.41,94.41]
[1154,1204,1,6.8930000000000005E-2,2.9569999999999999E-2,83.8,83.8]
[1154,1204,2,6.6930000000000003E-2,2.0889999999999999E-2,83.8,83.8]
[1154,1204,3,6.6930000000000003E-2,2.0889999999999999E-2,83.8,83.8]
[1154,1425,1,0.28261999999999998,0.11226999999999999,67.2,67.2]
[1154,1509,1,5.0700000000000002E-2,0,30,30]
[1154,1511,2,5.0700000000000002E-2,0,30,30]
[1154,1513,3,4.8000000000000001E-2,0,60,60]
[1154,12080,1,1.6500000000000001E-2,5.1500000000000001E-3,83.8,83.8]
[1155,1507,1,3.7999999999999999E-2,0,81.900000000000006,81.900000000000006]
[1155,1522,2,3.7999999999999999E-2,0,195,195]
[1159,1331,1,0.12021,3.7519999999999998E-2,83.8,83.8]
[1159,1331,2,0.12021,3.7519999999999998E-2,83.8,83.8]
[1163,12243,1,3.2140000000000002E-2,1.0500000000000001E-2,62.82,62.82]
[1163,12269,1,7.4799999999999997E-3,2.4399999999999999E-3,83.8,83.8]
[1164,1117,1,3.2940000000000001E-3,4.1800000000000002E-4,370.6,370.6]
[1164,1140,1,1.4001E-2,1.758E-3,370.6,370.6]
[1170,1124,1,7.7999999999999996E-3,1.42E-3,390.4,390.4]
[1204,12080,1,6.2899999999999998E-2,2.281E-2,74.900000000000006,74.900000000000006]
[1204,12089,1,2.6239999999999999E-2,7.9000000000000008E-3,83.8,83.8]
[1206,12178,1,3.0970000000000001E-2,1.7059999999999999E-2,51.2,51.2]
[1207,12178,1,2.7459999999999998E-2,8.6800000000000002E-3,94.4,94.4]
[1215,12007,1,5.6469999999999999E-2,1.857E-2,94.4,94.4]
[1215,12094,1,5.3800000000000001E-2,2.8539999999999999E-2,58,58]
[1215,12280,1,2.6089999999999999E-2,9.1699999999999993E-3,74.900000000000006,74.900000000000006]
[1216,12183,1,3.82E-3,1.4E-3,74.900000000000006,74.900000000000006]
[1217,12283,1,7.9850000000000004E-2,4.3990000000000001E-2,51.2,51.2]
[1219,1140,1,2.5426000000000001E-2,4.4029999999999998E-3,438.2,438.2]
[1219,1218,1,0.1636,0,300,300]
[1220,1241,1,9.5149999999999998E-2,5.1090000000000003E-2,51.2,51.2]
[1223,1166,1,0.103077,0,78,78]
[1240,12219,1,0.10922,3.1519999999999999E-2,73.7,73.7]
[1241,12219,1,2.5600000000000002E-3,8.3000000000000001E-4,73.7,73.7]
[1241,12220,1,2.82E-3,9.2000000000000003E-4,73,73]
[1249,12049,1,0.16864000000000001,5.3350000000000002E-2,83.8,83.8]
[1251,12292,1,4.9027000000000001E-2,1.1894E-2,79.400000000000006,79.400000000000006]
[1301,1331,1,0.15587999999999999,4.4970000000000003E-2,83.8,83.8]
[1301,1810,1,0.18268999999999999,5.271E-2,83.8,83.8]
[1302,1310,1,0.30868000000000001,0.24593000000000001,35.4,35.4]
[1302,1310,2,0.24307999999999999,7.707E-2,73.7,73.7]
[1302,1862,1,0.18090999999999999,5.7356999999999998E-2,73.7,73.7]
[1303,1816,1,0.23816999999999999,6.8669999999999995E-2,73.7,73.7]
[1303,1833,1,0.27781,8.0089999999999995E-2,73.7,73.7]
[1303,12220,1,0.25217000000000001,7.2749999999999995E-2,73.7,73.7]
[1304,1321,1,0.16163,4.6629999999999998E-2,83.8,83.8]
[1304,1329,1,2.383E-2,6.8799999999999998E-3,83.8,83.8]
[1304,1372,1,0.32262999999999997,9.3060000000000004E-2,83.8,83.8]
[1304,1506,1,7.2669999999999998E-2,0,60,60]
[1305,1325,1,0.39602999999999999,0.11422,83.8,83.8]
[1305,1327,1,0.46148,0.13308,83.8,83.8]
[1305,1520,1,0.17455999999999999,0,30,30]
[1306,1338,1,3.4750000000000003E-2,1.0030000000000001E-2,73.7,73.7]
[1306,1374,1,7.4270000000000003E-2,2.1430000000000001E-2,73.7,73.7]
[1306,1501,1,7.0860000000000006E-2,0,60,60]
[1306,1828,1,4.0239999999999998E-2,1.29E-2,73.7,73.7]
[1306,1862,1,0.186783,5.9219000000000001E-2,73.7,73.7]
[1306,1869,1,0.11716,3.3803E-2,66.7,66.7]
[1308,1310,1,0.44885999999999998,0.35748999999999997,35.4,35.4]
[1308,1312,1,0.19558,0.15581999999999999,35.4,35.4]
[1309,1336,1,6.7510000000000001E-2,1.9480000000000001E-2,73.7,73.7]
[1309,1835,1,0.1883,5.4449999999999998E-2,73.7,73.7]
[1314,1339,1,4.1880000000000001E-2,1.538E-2,70.5,70.5]
[1314,1374,1,0.13880000000000001,4.0050000000000002E-2,73.7,73.7]
[1314,1813,1,1.3899999999999999E-2,4.0099999999999997E-3,83.8,83.8]
[1315,1318,1,0.28393000000000002,8.1909999999999997E-2,83.8,83.8]
[1315,1810,1,0.32558999999999999,9.3920000000000003E-2,83.8,83.8]
[1315,1833,1,0.28177000000000002,8.1229999999999997E-2,73.7,73.7]
[1318,1329,1,0.14198,4.0960000000000003E-2,83.8,83.8]
[1321,1322,1,5.9470000000000002E-2,1.7160000000000002E-2,83.8,83.8]
[1322,1813,2,5.987E-2,1.7270000000000001E-2,83.8,83.8]
[1323,1863,1,0.23035800000000001,7.3010000000000005E-2,73.7,73.7]
[1324,1372,1,0.23430999999999999,6.7599999999999993E-2,83.8,83.8]
[1327,1388,1,0.44714999999999999,0.14330000000000001,83.8,83.8]
[1336,1337,1,4.2930000000000003E-2,1.376E-2,73.7,73.7]
[1336,1338,1,8.7370000000000003E-2,2.521E-2,73.7,73.7]
[1403,1416,1,0.25117,7.2459999999999997E-2,83.8,83.8]
[1403,1764,1,0.20238,5.8340000000000003E-2,66.7,66.7]
[1406,1411,1,0.72787999999999997,0.57904999999999995,35.4,35.4]
[1406,1439,1,0.27201999999999998,7.8469999999999998E-2,83.8,83.8]
[1407,1424,1,0.41782000000000002,0.12049,73.7,73.7]
[1407,1431,1,0.32525999999999999,0.10310999999999999,73.7,73.7]
[1407,1432,1,0.77629000000000004,0.22359999999999999,73.7,73.7]
[1407,1736,1,6.6011E-2,1.9042E-2,80.099999999999994,80.099999999999994]
[1408,1414,1,9.5310000000000006E-2,2.75E-2,83.8,83.8]
[1408,1667,1,2.5000000000000001E-3,8.0000000000000004E-4,83.8,83.8]
[1409,1432,1,0.25613000000000002,7.3889999999999997E-2,73.7,73.7]
[1409,1435,1,0.10206,2.945E-2,73.7,73.7]
[1409,1516,1,7.2669999999999998E-2,0,55,55]
[1409,1521,1,0.22286,0,42,42]
[1411,1428,1,0.26508999999999999,0.2112,35.4,35.4]
[1411,1762,1,0.161,4.4400000000000002E-2,73.599999999999994,73.599999999999994]
[1414,1415,1,0.26606000000000002,7.6759999999999995E-2,83.8,83.8]
[1414,1433,1,0.17848,5.1499999999999997E-2,83.8,83.8]
[1415,1449,1,9.9290000000000003E-2,2.8649999999999998E-2,83.8,83.8]
[1416,1447,1,7.5459999999999999E-2,2.1770000000000001E-2,83.8,83.8]
[1416,1447,2,7.9589999999999994E-2,2.5510000000000001E-2,83.8,83.8]
[1416,1758,1,0.20726,5.9700000000000003E-2,83.8,83.8]
[1417,1718,1,3.7479999999999999E-2,1.0800000000000001E-2,83.8,83.8]
[1418,1433,1,9.9529999999999993E-2,2.8719999999999999E-2,73.7,73.7]
[1418,1713,1,0.21415000000000001,6.1789999999999998E-2,73.7,73.7]
[1422,1411,1,0.19400000000000001,0,30,30]
[1422,1434,1,9.0079999999999993E-2,2.597E-2,147.5,147.5]
[1422,1445,1,0.11165,3.2190000000000003E-2,147.5,147.5]
[1423,1755,1,0.10451000000000001,3.0120000000000001E-2,147.5,147.5]
[1423,1795,1,3.7200000000000002E-3,1.07E-3,117.1,117.1]
[1425,1439,1,8.1600000000000006E-3,3.2399999999999998E-3,67.2,67.2]
[1427,1431,1,0.37672,0.11940000000000001,73.7,73.7]
[1427,1735,1,2.0448999999999998E-2,5.8989999999999997E-3,80.099999999999994,80.099999999999994]
[1427,14002,1,0.33532499999999998,0.106882,58.6,58.6]
[1429,1719,1,0.53651499999999996,0.171012,58.3,58.3]
[1429,14011,1,0.43329600000000001,0.13720499999999999,58.6,58.6]
[1431,1442,1,0.79920000000000002,0.25284000000000001,73.7,73.7]
[1433,1772,1,3.6483000000000002E-2,6.3449999999999999E-3,80.099999999999994,80.099999999999994]
[1434,1795,1,0.12654000000000001,3.6479999999999999E-2,117.1,117.1]
[1435,1491,1,2.9760000000000002E-2,8.5900000000000004E-3,73.7,73.7]
[1442,1495,1,0.82293000000000005,0.26229999999999998,73.7,73.7]
[1444,1447,1,8.3330000000000001E-2,0,180,180]
[1445,1493,1,3.499E-2,1.009E-2,147.5,147.5]
[1490,1492,1,6.45E-3,1.8600000000000001E-3,73.7,73.7]
[1490,1714,1,0.12834000000000001,3.703E-2,83.8,83.8]
[1491,1492,1,6.45E-3,1.8600000000000001E-3,73.7,73.7]
[1493,1497,1,6.4939999999999998E-2,1.8689999999999998E-2,147.5,147.5]
[1497,1498,1,5.1310000000000001E-2,1.477E-2,147.5,147.5]
[1498,1499,1,2.751E-2,7.92E-3,147.5,147.5]
[1499,1409,1,0.11425,0,150,150]
[1501,1110,1,0.20305000000000001,0,60,60]
[1502,1106,1,0.20305000000000001,0,60,60]
[1503,1108,2,0.1474,0,60,60]
[1504,1106,1,0.21078,0,36,36]
[1505,1108,3,0.1474,0,60,60]
[1506,1119,1,0.20799999999999999,0,60,60]
[1507,1107,1,0.10964,0,81.900000000000006,81.900000000000006]
[1509,1114,1,0.1452,0,30,30]
[1511,1114,2,0.1452,0,30,30]
[1513,1109,3,0.154,0,60,60]
[1516,1710,1,0.20305000000000001,0,55,55]
[1518,1108,4,0.1474,0,60,60]
[1519,1119,1,0.1958,0,50,50]
[1520,1822,1,0.32467000000000001,0,30,30]
[1521,1499,1,6.1190000000000001E-2,0,42,42]
[1522,1107,2,0.10964,0,195,195]
[1524,1771,1,0.149563,0,30.6,30.6]
[1526,1732,1,0.45479999999999998,0,30.6,30.6]
[1527,1730,1,0.45800000000000002,0,30.6,30.6]
[1528,1841,1,0.3518,0,51,51]
[1710,1409,1,0.11743000000000001,0,165,165]
[1710,1771,1,5.493E-2,8.5000000000000006E-3,374,374]
[1710,3190,1,0.11469,1.7739999999999999E-2,374,374]
[1713,1715,1,9.2099999999999994E-3,2.66E-3,83.8,83.8]
[1714,1715,2,9.2099999999999994E-3,2.66E-3,83.8,83.8]
[1718,1758,1,0.51080999999999999,0.14713999999999999,83.8,83.8]
[1730,1444,1,7.9898999999999998E-2,1.3837E-2,438.2,438.2]
[1730,1735,1,0.24859999999999999,0,90,90]
[1732,1710,1,6.8025000000000002E-2,1.1781E-2,438.2,438.2]
[1732,1736,1,0.247,0,90,90]
[1735,1527,1,0.1598,0,30.6,30.6]
[1736,1526,1,0.15840000000000001,0,30.6,30.6]
[1764,1429,1,0.39483000000000001,0.11382,66.7,66.7]
[1771,1772,1,0.149399,0,90,90]
[1772,1524,1,0.149474,0,30.6,30.6]
[1816,1835,1,6.1289999999999997E-2,1.7659999999999999E-2,73.7,73.7]
[1820,1519,1,0.28162999999999999,0,50,50]
[1820,1821,1,4.9570000000000003E-2,1.427E-2,147.5,147.5]
[1822,1305,1,0.12772,0,90,90]
[1822,1842,1,6.5651000000000001E-2,1.8315000000000001E-2,147.5,147.5]
[1823,1845,1,1.6299999999999999E-3,2.7E-4,257.39999999999998,257.39999999999998]
[1823,1845,2,1.6299999999999999E-3,2.7E-4,257.39999999999998,257.39999999999998]
[1840,1845,1,3.1267000000000003E-2,5.0590000000000001E-3,482,482]
[1841,1832,1,8.8059999999999999E-2,1.061E-2,438.2,438.2]
[1841,1842,1,0.12379999999999999,0,150,150]
[1842,1528,1,0.2087,0,51,51]
[1842,1821,1,3.6388999999999998E-2,1.0152E-2,147.5,147.5]
[1846,1308,1,0.162275,5.1734000000000002E-2,58.6,58.6]
[1846,1372,1,0.21940599999999999,6.9947999999999996E-2,58.6,58.6]
[1863,1306,1,0.379413,0.120252,73.7,73.7]
[1869,1857,1,4.1701000000000002E-2,1.2031E-2,66.7,66.7]
[3029,3098,1,2.1129999999999999E-2,5.3299999999999997E-3,136.62,136.62]
[3029,3103,1,0.14086000000000001,3.6220000000000002E-2,136.62,136.62]
[3030,3033,1,0.13100000000000001,0,120,120]
[3030,3085,1,2.0959999999999999E-2,5.2599999999999999E-3,136.62,136.62]
[3030,3101,1,4.2209999999999998E-2,1.085E-2,147,147]
[3030,3131,1,0.18667,9.1699999999999993E-3,30,30]
[3030,3132,1,0.185,9.1699999999999993E-3,30,30]
[3031,3085,1,1.3780000000000001E-2,3.2799999999999999E-3,136.62,136.62]
[3031,3120,1,1.592E-2,3.8600000000000001E-3,136.62,136.62]
[3032,3095,2,3.6740000000000002E-2,7.0699999999999999E-3,405.1,405.1]
[3032,3300,1,2.2530000000000001E-2,3.8500000000000001E-3,374,374]
[3032,3429,1,0.107803,1.9701E-2,405.1,405.1]
[3032,3550,1,6.4900000000000001E-3,1.209E-3,405.1,405.1]
[3033,3030,1,0.13,4.8999999999999998E-3,100,100]
[3033,3030,1,0.13167000000000001,4.8999999999999998E-3,100,100]
[3033,3429,1,2.7779999999999999E-2,5.0769999999999999E-3,405.1,405.1]
[3033,3429,2,2.7779999999999999E-2,5.0769999999999999E-3,405.1,405.1]
[3033,3544,1,1.9109999999999999E-2,2.8900000000000002E-3,317.33999999999997,317.33999999999997]
[3034,3080,1,1.2E-4,2.0000000000000002E-5,317.3,317.3]
[3034,3301,1,2.4399999999999999E-3,4.0000000000000002E-4,455.31,455.31]
[3034,3544,1,3.3360000000000001E-2,5.0499999999999998E-3,317.33999999999997,317.33999999999997]
[3034,3553,1,1.7325E-2,2.6410000000000001E-3,317.3,317.3]
[3036,3037,1,0.20666999999999999,0,60,60]
[3036,3093,1,7.1190000000000003E-2,1.6219999999999998E-2,68.31,68.31]
[3037,3045,1,1.8530000000000001E-2,4.8799999999999998E-3,136.62,136.62]
[3037,3052,1,2.5559999999999999E-2,6.2199999999999998E-3,136.62,136.62]
[3037,3179,1,2.2908999999999999E-2,5.1830000000000001E-3,160,160]
[3037,3203,1,3.9539999999999999E-2,1.042E-2,136.62,136.62]
[3037,3219,1,4.5710000000000001E-2,1.034E-2,151.80000000000001,151.80000000000001]
[3038,3064,1,5.74E-2,1.4590000000000001E-2,136.62,136.62]
[3038,3098,1,0.12049,3.0870000000000002E-2,136.62,136.62]
[3038,3108,1,3.5430000000000003E-2,8.9599999999999992E-3,155,155]
[3038,3160,1,5.8139999999999997E-2,1.4250000000000001E-2,153,153]
[3040,3122,1,8.4209999999999993E-2,1.9179999999999999E-2,136.62,136.62]
[3040,3213,1,2.954E-2,7.2000000000000005E-4,151.80000000000001,151.80000000000001]
[3040,3408,1,1.2880000000000001E-2,2.9299999999999999E-3,136.62,136.62]
[3045,3078,1,1.2070000000000001E-2,3.1800000000000001E-3,136.62,136.62]
[3049,3082,1,9.8839999999999997E-2,2.2509999999999999E-2,136.62,136.62]
[3049,3179,1,1.0534999999999999E-2,2.3839999999999998E-3,170,170]
[3049,3204,1,2.8500000000000001E-3,6.9999999999999999E-4,160,160]
[3052,3160,1,2.0670000000000001E-2,5.0600000000000003E-3,136.62,136.62]
[3052,3203,1,2.8309999999999998E-2,7.4599999999999996E-3,136.62,136.62]
[3055,3118,1,0.23094999999999999,5.935E-2,136.62,136.62]
[3059,3122,1,5.5000000000000003E-4,1.4999999999999999E-4,136.62,136.62]
[3060,3091,1,2.9389999999999999E-2,7.5500000000000003E-3,136.62,136.62]
[3060,3427,1,0.12017899999999999,2.8891E-2,136.6,136.6]
[3064,3118,1,8.4709999999999994E-2,2.1780000000000001E-2,136.62,136.62]
[3075,3100,1,5.0430000000000003E-2,2.266E-2,47.34,47.34]
[3075,3113,1,7.0290000000000005E-2,2.9250000000000002E-2,47.34,47.34]
[3077,3100,1,3.637E-2,1.873E-2,47.34,47.34]
[3077,3110,1,8.2900000000000005E-3,2.5300000000000001E-3,68.31,68.31]
[3078,3203,1,3.3509999999999998E-2,8.8299999999999993E-3,136.62,136.62]
[3078,3203,2,2.632E-2,6.94E-3,136.62,136.62]
[3082,3122,1,2.214E-2,5.0400000000000002E-3,136.62,136.62]
[3091,3103,1,5.7160000000000002E-2,1.47E-2,136.62,136.62]
[3093,3424,1,0.15493999999999999,6.9610000000000005E-2,47.3,47.3]
[3095,3038,1,8.8889999999999997E-2,0,160,160]
[3095,3038,2,8.7779999999999997E-2,0,165,165]
[3095,3550,1,3.5555999999999997E-2,6.6940000000000003E-3,405.1,405.1]
[3098,3180,1,4.0739999999999998E-2,1.035E-2,136.62,136.62]
[3100,3101,1,0.22,0,55,55]
[3101,3120,1,2.7720000000000002E-2,6.8900000000000003E-3,136.62,136.62]
[3101,3427,1,5.8810000000000001E-2,1.4138E-2,136.6,136.6]
[3108,3203,1,1.0619999999999999E-2,2.8E-3,136.62,136.62]
[3110,3113,1,3.1870000000000002E-2,8.7100000000000007E-3,68.31,68.31]
[3113,3030,1,0.20666999999999999,0,53,53]
[3113,3030,2,0.20832999999999999,0,60,60]
[3116,3424,1,0.32884999999999998,0.14405000000000001,47.9,47.9]
[3120,3155,1,0.15332999999999999,0,84,84]
[3122,3116,1,0.22420000000000001,0,50,50]
[3123,3180,1,5.5399999999999998E-2,1.4239999999999999E-2,136.62,136.62]
[3123,3203,1,2.1499999999999998E-2,5.6699999999999997E-3,136.62,136.62]
[3131,3033,1,0.32667000000000002,6.5500000000000003E-3,30,30]
[3132,3033,1,0.32667000000000002,6.5500000000000003E-3,30,30]
[3155,3301,1,5.704E-2,8.9200000000000008E-3,455.31,455.31]
[3155,3301,2,5.704E-2,8.9200000000000008E-3,455.31,455.31]
[3155,3429,1,2.3018E-2,3.6080000000000001E-3,455.3,455.3]
[3155,3429,2,2.3018E-2,3.6080000000000001E-3,455.3,455.3]
[3183,3190,1,4.9079999999999999E-2,7.5900000000000004E-3,374,374]
[3183,3300,1,8.133E-2,1.2579999999999999E-2,374,374]
[3203,3204,1,6.8040000000000003E-2,1.7930000000000001E-2,136.6,136.6]
[3203,3204,2,6.8040000000000003E-2,1.7930000000000001E-2,136.6,136.6]
[3211,3592,1,5.8799999999999998E-4,9.2999999999999997E-5,317.3,317.3]
[3211,29181,1,1.7420000000000001E-2,2.751E-3,317.3,317.3]
[3213,3408,1,4.5710000000000001E-2,1.91E-3,151.80000000000001,151.80000000000001]
[3300,3429,1,0.108406,1.9022000000000001E-2,374,374]
[3301,3355,1,4.0000000000000003E-5,1.0000000000000001E-5,317.3,317.3]
[3301,3355,2,4.0000000000000003E-5,1.0000000000000001E-5,317.3,317.3]
[3301,3592,1,2.0212000000000001E-2,3.1879999999999999E-3,317.3,317.3]
[3301,4411,1,6.0499999999999998E-2,9.3600000000000003E-3,374,374]
[3301,29182,2,4.9279999999999997E-2,7.62E-3,374,374]
[3310,3553,1,1.6036000000000002E-2,2.444E-3,317.3,317.3]
[3310,4407,1,2.0660000000000001E-2,3.1900000000000001E-3,317.3,317.3]
[3408,3219,1,2.954E-2,6.6800000000000002E-3,151.80000000000001,151.80000000000001]
[3427,3428,1,0.57148900000000002,0,150,150]
[3428,3429,1,0.341422,0,150,150]
[3429,3427,1,8.5366999999999998E-2,0,150,150]
[4122,4403,1,9.1800000000000007E-2,0,16,16]
[4124,4403,2,9.1800000000000007E-2,0,16,16]
[4300,4315,1,1.0441000000000001E-2,2.147E-3,213.8,213.8]
[4300,4317,1,1.6760000000000001E-2,3.6800000000000001E-3,133.9,133.9]
[4302,4323,1,1.486E-2,3.31E-3,133.9,133.9]
[4302,4343,1,8.5599999999999999E-3,2.33E-3,133.9,133.9]
[4305,4315,1,1.5740000000000001E-2,3.5100000000000001E-3,133.9,133.9]
[4305,4325,1,9.4299999999999991E-3,2.0999999999999999E-3,133.9,133.9]
[4306,4319,1,8.2100000000000003E-3,1.7899999999999999E-3,80,80]
[4312,4316,1,8.8450000000000001E-2,1.9120000000000002E-2,100,100]
[4312,4345,1,1.346E-2,2.8500000000000001E-3,134,134]
[4315,4342,1,7.3090000000000002E-2,1.5520000000000001E-2,80,80]
[4315,4392,1,1.3436E-2,2.6459999999999999E-3,190,190]
[4315,4908,1,0.76466999999999996,2.3130000000000001E-2,25,25]
[4315,4910,1,0.76466999999999996,2.3130000000000001E-2,25,25]
[4316,4122,1,6.8699999999999997E-2,0,16,16]
[4316,4124,2,6.8699999999999997E-2,0,16,16]
[4316,4341,1,5.5039999999999999E-2,1.226E-2,133.9,133.9]
[4316,4346,1,5.2569999999999999E-2,1.226E-2,134,134]
[4317,4338,1,9.4199999999999996E-3,2.0600000000000002E-3,133.9,133.9]
[4317,4357,1,5.0522999999999998E-2,1.1006E-2,133.9,133.9]
[4319,4361,1,1.9851000000000001E-2,4.235E-3,133.9,133.9]
[4319,4916,1,0.26879999999999998,0,25,25]
[4319,4918,2,0.26800000000000002,0,25,25]
[4319,4927,3,0.26267000000000001,0,25,25]
[4323,4336,1,3.2070000000000001E-2,6.9899999999999997E-3,150,150]
[4323,4338,1,1.2699999999999999E-2,2.82E-3,133.9,133.9]
[4325,4340,1,3.6339999999999997E-2,8.9899999999999997E-3,133.9,133.9]
[4326,4345,1,5.8599999999999999E-2,1.242E-2,100,100]
[4327,4329,1,8.8980000000000004E-2,1.9230000000000001E-2,133.9,133.9]
[4327,4357,1,6.9747000000000003E-2,1.5193999999999999E-2,133.9,133.9]
[4328,4342,1,7.9469999999999999E-2,1.6879999999999999E-2,80,80]
[4328,4359,1,7.6499999999999999E-2,1.9300000000000001E-2,133.9,133.9]
[4329,4331,1,7.6649999999999996E-2,1.653E-2,133.9,133.9]
[4331,4354,1,7.0800000000000002E-2,1.5310000000000001E-2,133.9,133.9]
[4336,4354,1,0.18245,3.9449999999999999E-2,133.9,133.9]
[4336,4361,1,2.9038999999999999E-2,6.195E-3,133.9,133.9]
[4340,4343,1,1.542E-2,3.81E-3,133.9,133.9]
[4340,4920,1,0.54432999999999998,0,25,25]
[4340,4922,2,0.54432999999999998,0,25,25]
[4341,4359,1,9.1499999999999998E-2,2.1399999999999999E-2,133.9,133.9]
[4342,4386,1,6.0839999999999998E-2,1.3610000000000001E-2,133.9,133.9]
[4342,4392,1,6.4798999999999995E-2,1.5369000000000001E-2,133.9,133.9]
[4345,4346,1,2.9559999999999999E-2,6.8900000000000003E-3,134,134]
[4350,4318,1,1.49E-2,3.3E-3,133.9,133.9]
[4350,4329,1,0.10829999999999999,2.41E-2,133.9,133.9]
[4357,4358,1,0.26267000000000001,0,25,25]
[4357,4362,2,0.26267000000000001,0,25,25]
[4358,4420,1,0.42799999999999999,0,25,25]
[4359,4350,1,1.2E-2,2.7000000000000001E-3,133.9,133.9]
[4362,4420,2,0.42799999999999999,0,25,25]
[4392,4919,1,0.63729999999999998,0,25,25]
[4400,4405,1,1.9499999999999999E-3,2.9999999999999997E-4,70,70]
[4401,4315,1,0.13755999999999999,4.9100000000000003E-3,75,75]
[4401,4315,1,0.13755999999999999,4.9100000000000003E-3,75,75]
[4401,4406,1,2.8799999999999999E-2,4.4999999999999997E-3,225.4,225.4]
[4402,4403,1,3.0439999999999998E-2,5.8700000000000002E-3,225.4,225.4]
[4402,4404,1,7.1760000000000004E-2,1.119E-2,300,300]
[4402,4405,1,4.4200000000000003E-3,6.8999999999999997E-4,225.4,225.4]
[4402,4405,2,4.4200000000000003E-3,6.8999999999999997E-4,225.4,225.4]
[4402,4406,1,5.4489999999999997E-2,9.9799999999999993E-3,367,367]
[4402,4411,1,0.10664999999999999,1.6490000000000001E-2,367,367]
[4402,4415,1,1.436E-3,2.22E-4,60,60]
[4402,4419,1,3.8800000000000001E-2,6.0000000000000001E-3,225.4,225.4]
[4403,4316,2,5.6500000000000002E-2,0,114,114]
[4403,4316,1,5.6500000000000002E-2,0,114,114]
[4403,4407,1,6.6909999999999997E-2,1.034E-2,225.4,225.4]
[4404,4319,2,0.13986999999999999,0,75,75]
[4404,4319,1,0.14052999999999999,0,75,75]
[4404,4319,3,0.13667000000000001,0,75,75]
[4404,4406,1,1.4449999999999999E-2,2.2599999999999999E-3,225.4,225.4]
[4404,4410,1,7.0440000000000003E-2,1.09E-2,225.4,225.4]
[4404,4420,1,9.6287999999999999E-2,1.7635000000000001E-2,367,367]
[4406,4340,1,0.12675,0,75,75]
[4406,4340,2,0.12675,0,75,75]
[4406,4412,1,0.1157,1.789E-2,367,367]
[4408,50000,1,6.2100000000000002E-2,9.5300000000000003E-3,230,230]
[4410,4832,1,1.521E-3,2.3499999999999999E-4,225.4,225.4]
[4412,50050,1,0.11835,1.83E-2,338,338]
[4419,4392,1,0.11466,0,71.3,71.3]
[4419,4401,1,4.4000000000000003E-3,6.9999999999999999E-4,225.4,225.4]
[4420,4357,2,0.13667000000000001,0,71.3,71.3]
[4420,4357,1,0.13667000000000001,0,71.3,71.3]
[4750,4408,1,1.8550000000000001E-2,2.8500000000000001E-3,225.4,225.4]
[4750,4803,1,4.8900000000000002E-3,7.6000000000000004E-4,225.4,225.4]
[4832,4803,1,9.4979999999999995E-3,1.47E-3,225.4,225.4]
[4908,4401,1,1.0213300000000001,2.5329999999999998E-2,25,25]
[4910,4401,1,1.0153300000000001,2.5329999999999998E-2,25,25]
[4916,4404,1,0.42599999999999999,0,25,25]
[4918,4404,2,0.4244,0,25,25]
[4919,4419,1,0.84599999999999997,0,25,25]
[4920,4406,1,0.70440000000000003,0,25,25]
[4922,4406,2,0.70440000000000003,0,25,25]
[4927,4404,3,0.42799999999999999,0,25,25]
[6000,6014,1,9.4999999999999998E-3,1.6900000000000001E-3,193,193]
[6000,56050,1,2.7400000000000001E-2,5.0000000000000001E-3,200,200]
[6001,6002,"T5",2.9190000000000001E-2,0,350,350]
[6001,6002,"T1",5.1400000000000001E-2,0,210,210]
[6001,6002,"T2",5.1400000000000001E-2,0,220,220]
[6001,6002,"T3",2.5700000000000001E-2,0,375,375]
[6001,6003,"2C",1.17E-2,2.3999999999999998E-3,335,335]
[6001,6003,"1C",1.17E-2,2.3999999999999998E-3,335,335]
[6001,6005,"3A",3.5000000000000003E-2,6.7999999999999996E-3,247,247]
[6001,6005,"4A",3.5000000000000003E-2,6.7999999999999996E-3,247,247]
[6002,6018,12,2.5999999999999999E-3,5.9999999999999995E-4,120,120]
[6002,6018,37,1.73E-3,3.6999999999999999E-4,190,190]
[6002,6024,"3A",8.4370000000000001E-2,1.553E-2,168,168]
[6002,6082,"T1",0.44950000000000001,0,30,30]
[6002,6083,"T2",0.44950000000000001,0,40,40]
[6002,6084,"T3",0.22470000000000001,0,75,75]
[6002,6170,"4A",0.11887,2.188E-2,120,120]
[6003,6004,"T1",5.1400000000000001E-2,0,175,175]
[6003,6004,"T2",5.1400000000000001E-2,0,175,175]
[6003,6171,"1B",1.7309999999999999E-2,3.63E-3,202,202]
[6003,6460,"3A",0.121085,1.3568999999999999E-2,275,275]
[6003,6470,"2B",8.0719999999999993E-3,2.676E-3,225,225]
[6003,6713,"2A",3.1392000000000003E-2,3.5200000000000001E-3,275,275]
[6004,6085,"T1",0.44950000000000001,0,30,30]
[6004,6086,"T2",0.44950000000000001,0,30,30]
[6005,6001,47,3.354E-2,4.0899999999999999E-3,500,500]
[6005,6001,48,3.354E-2,4.0899999999999999E-3,500,500]
[6005,6006,"T3",0.16420000000000001,0,50,50]
[6005,6006,"T2",0.12,0,50,50]
[6005,6006,"T1",0.12,0,50,50]
[6005,6008,49,0.13752,1.6639999999999999E-2,500,500]
[6005,6008,50,0.13752,1.6639999999999999E-2,500,500]
[6005,6105,11,3.8000000000000002E-4,4.0000000000000003E-5,193,193]
[6005,6240,"4B",7.2330000000000005E-2,1.404E-2,247,247]
[6005,6240,"3B",7.2330000000000005E-2,1.404E-2,247,247]
[6006,6007,"T3",5.2200000000000003E-2,0,50,50]
[6006,6007,"T1",0.23,0,50,50]
[6006,6007,"T2",0.23,0,50,50]
[6007,6005,"T2",0.38,0,50,50]
[6007,6005,"T1",0.38,0,50,50]
[6007,6005,"T3",8.6999999999999994E-2,0,100,100]
[6008,6009,"T3",9.1399999999999995E-2,0,100,100]
[6008,6009,"T2",0.13139999999999999,0,60,60]
[6008,6009,"T1",0.13139999999999999,0,60,60]
[6008,6182,"5A",0.101482,1.7909000000000001E-2,247,247]
[6008,6182,51,9.8969000000000001E-2,1.1240999999999999E-2,500,500]
[6008,6182,52,9.8969000000000001E-2,1.1240999999999999E-2,500,500]
[6008,6240,"4C",5.237E-2,1.0160000000000001E-2,350,350]
[6008,6240,"3C",5.237E-2,1.0160000000000001E-2,320,320]
[6008,6460,"2B",5.382E-2,6.0299999999999998E-3,275,275]
[6008,6460,"3B",5.382E-2,6.0299999999999998E-3,275,275]
[6008,6520,"4A",6.4797999999999994E-2,7.058E-3,275,275]
[6008,6520,"5A",6.4797999999999994E-2,7.058E-3,275,275]
[6008,6550,"6A",9.8234000000000002E-2,1.7336000000000001E-2,247,247]
[6008,6753,41,8.7307999999999997E-2,1.7215999999999999E-2,382.4,382.4]
[6008,6753,42,8.7639999999999996E-2,1.8758E-2,382.4,382.4]
[6009,6010,"T1",0.32619999999999999,0,30,30]
[6009,6010,"T2",0.32619999999999999,0,30,30]
[6010,6008,"T2",0.48809999999999998,0,30,30]
[6010,6008,"T1",0.48809999999999998,0,30,30]
[6011,6012,"T1",0.13139999999999999,0,60,60]
[6011,6012,"T2",0.13139999999999999,0,60,60]
[6011,6012,"T3",0.1341,0,60,60]
[6011,6096,7,3.3700000000000001E-2,6.4999999999999997E-3,193,193]
[6011,6096,8,3.3700000000000001E-2,6.4999999999999997E-3,193,193]
[6011,6182,"5B",8.0750000000000002E-2,1.5679999999999999E-2,247,247]
[6011,6182,"6C",8.0750000000000002E-2,1.5679999999999999E-2,280,280]
[6011,6380,"9A",2.64E-2,4.7000000000000002E-3,248,248]
[6012,6013,"T3",0.3347,0,50,50]
[6012,6013,"T2",0.32619999999999999,0,50,50]
[6012,6013,"T1",0.32619999999999999,0,50,50]
[6012,6087,15,9.5299999999999996E-2,1.8200000000000001E-2,93,93]
[6012,6087,16,9.5299999999999996E-2,1.8200000000000001E-2,150,150]
[6013,6011,"T1",0.48809999999999998,0,50,50]
[6013,6011,"T2",0.48809999999999998,0,50,50]
[6013,6011,"T3",0.51049999999999995,0,50,50]
[6014,6015,"T1",0.12,0,50,50]
[6014,6015,"T2",0.1226,0,50,50]
[6014,6330,27,2.249E-2,4.0000000000000001E-3,193,193]
[6014,6380,"9B",2.64E-2,4.7000000000000002E-3,248,248]
[6014,6510,"8A",1.7250000000000001E-2,3.5400000000000002E-3,193,193]
[6015,6016,"T2",0.2286,0,50,50]
[6015,6016,"T1",0.23,0,50,50]
[6016,6014,"T1",0.38,0,50,50]
[6016,6014,"T2",0.38500000000000001,0,50,50]
[6018,6173,"1A",0.16172400000000001,3.1580999999999998E-2,150,150]
[6018,6173,"2A",0.16172400000000001,3.1580999999999998E-2,150,150]
[6024,6060,"3B",0.11812,2.1739999999999999E-2,168,168]
[6059,6060,1,8.0000000000000004E-4,1.0000000000000001E-5,115,115]
[6059,6173,"2B",2.2409999999999999E-2,4.3660000000000001E-3,211,211]
[6059,6270,"0A",5.0000000000000001E-4,5.0000000000000001E-4,93,93]
[6059,6290,"1C",2.5300000000000001E-3,4.6999999999999999E-4,211,211]
[6059,6684,51,2.0902E-2,4.4970000000000001E-3,156,156]
[6060,6170,"4B",9.2619999999999994E-2,1.7049999999999999E-2,120,120]
[6060,6270,"0B",5.0000000000000001E-4,5.0000000000000001E-4,93,93]
[6082,6001,"T1",0.52569999999999995,0,30,30]
[6083,6001,"T2",0.52569999999999995,0,40,40]
[6084,6001,"T3",0.26279999999999998,0,75,75]
[6085,6003,"T1",0.52569999999999995,0,30,30]
[6086,6003,"T2",0.52569999999999995,0,30,30]
[6087,6088,17,2.0400000000000001E-2,4.1999999999999997E-3,93,93]
[6087,6092,18,7.0000000000000001E-3,1.5E-3,93,93]
[6087,6300,"T1",0.24,0,62.5,62.5]
[6096,6179,18,1.4399E-2,1.6149999999999999E-3,290,290]
[6096,6263,"0A",9.0589000000000003E-2,1.5886999999999998E-2,304,304]
[6100,6171,"1A",4.367E-2,9.1500000000000001E-3,202,202]
[6100,6243,"2A",5.1119999999999999E-2,1.0710000000000001E-2,225,225]
[6170,6280,43,7.3299999999999997E-3,1.5900000000000001E-3,159,159]
[6173,6290,"1B",2.2769999999999999E-2,4.3E-3,211,211]
[6173,6604,57,7.2400000000000003E-4,1.83E-4,93,93]
[6178,6179,19,1.8600000000000001E-3,2.2000000000000001E-4,193,193]
[6179,6182,16,7.7799999999999994E-2,8.5000000000000006E-3,275,275]
[6179,6182,17,7.7799999999999994E-2,8.5000000000000006E-3,275,275]
[6179,6340,29,3.9600000000000003E-2,4.4400000000000004E-3,276,276]
[6179,6360,22,3.0500000000000002E-3,5.4200000000000003E-3,131,131]
[6182,6440,"5A",0.130216,1.6972999999999999E-2,374,374]
[6182,6520,"5B",3.7092E-2,4.0400000000000002E-3,275,275]
[6182,6520,"4B",3.7092E-2,4.0400000000000002E-3,275,275]
[6240,6241,"T1",0.245,0,50,50]
[6243,6470,"2A",1.256E-3,2.6200000000000003E-4,225,225]
[6260,6261,"T1",0.125,0,50,50]
[6260,6263,"0B",2.239E-2,3.9269999999999999E-3,304,304]
[6260,6340,30,7.1190000000000003E-2,1.2485E-2,304,304]
[6260,6400,21,1.4760000000000001E-2,2.4399999999999999E-3,304,304]
[6261,6262,"T1",0.2293,0,50,50]
[6261,6490,50,3.6769999999999997E-2,1.0397E-2,40,40]
[6262,6260,"T1",0.379,0,50,50]
[6330,6331,"T1",0.13500000000000001,0,60,60]
[6330,6510,"8B",5.9800000000000001E-3,1.23E-3,193,193]
[6331,6332,44,9.5299999999999996E-2,1.8200000000000001E-2,93,93]
[6360,6363,23,4.0600000000000002E-3,7.2300000000000003E-3,131,131]
[6363,6366,24,3.5500000000000002E-3,6.3299999999999997E-3,131,131]
[6380,6381,"T2",0.245,0,83.33,83.33]
[6380,6381,"T1",0.245,0,83.33,83.33]
[6400,58350,1,4.3150000000000001E-2,7.1199999999999996E-3,333,333]
[6440,6441,33,1.5723000000000001E-2,3.2439999999999999E-3,374,374]
[6440,6442,34,1.0962E-2,2.2620000000000001E-3,374,374]
[6440,6443,35,6.3899999999999998E-3,8.2200000000000003E-4,374,374]
[6440,6500,"5B",7.3359999999999996E-3,9.5600000000000004E-4,374,374]
[6500,56050,1,2.068E-2,3.2000000000000002E-3,338,338]
[6510,6511,36,4.2999999999999999E-4,8.0000000000000007E-5,193,193]
[6511,6513,37,2.1800000000000001E-3,4.0999999999999999E-4,193,193]
[6550,6182,"6B",7.8879999999999992E-3,1.392E-3,247,247]
[6713,6460,"2A",8.9690000000000006E-2,1.005E-2,275,275]
[6753,6755,43,2.2043E-2,4.4479999999999997E-3,382.4,382.4]
[6753,6755,44,2.2008E-2,4.5729999999999998E-3,382.4,382.4]
[12007,12195,1,6.028E-2,2.1860000000000001E-2,83.8,83.8]
[12007,12225,1,2.9739999999999999E-2,9.7800000000000005E-3,83.8,83.8]
[12029,12031,1,2.7999999999999998E-4,1.4999999999999999E-4,79.400000000000006,79.400000000000006]
[12029,12282,1,5.4799999999999996E-3,1.33E-3,94.4,94.4]
[12030,12177,1,3.6729999999999999E-2,8.9099999999999995E-3,94.4,94.4]
[12030,12282,1,5.3480000000000003E-3,1.2979999999999999E-3,94.4,94.4]
[12031,12136,1,0.1351,7.2520000000000001E-2,79.400000000000006,79.400000000000006]
[12036,12089,1,6.6600000000000001E-3,2E-3,83.8,83.8]
[12036,12257,1,1.387E-2,4.5100000000000001E-3,83.8,83.8]
[12047,12142,1,7.9000000000000001E-4,1.9000000000000001E-4,94.4,94.4]
[12047,12178,1,1.5270000000000001E-2,3.7000000000000002E-3,94.4,94.4]
[12049,12239,1,9.1800000000000007E-3,2.8999999999999998E-3,83.8,83.8]
[12094,12251,1,8.8100000000000001E-3,4.8599999999999997E-3,51.2,51.2]
[12108,12144,1,3.8000000000000002E-4,2.0000000000000001E-4,41,41]
[12127,12129,1,2.5600000000000001E-2,1.374E-2,58,58]
[12127,12239,1,4.2840000000000003E-2,1.355E-2,83.8,83.8]
[12129,12154,1,1.0659999999999999E-2,3.47E-3,83.8,83.8]
[12136,12294,1,9.8055000000000003E-2,2.3788E-2,79.400000000000006,79.400000000000006]
[12142,12205,1,5.101E-2,1.2370000000000001E-2,94.41,94.41]
[12154,12257,1,5.6600000000000001E-3,1.8400000000000001E-3,83.8,83.8]
[12183,12238,1,1.2109999999999999E-2,4.45E-3,74.900000000000006,74.900000000000006]
[12195,12242,1,3.7699999999999999E-3,1.3699999999999999E-3,83.8,83.8]
[12204,12282,1,5.9470000000000002E-2,1.443E-2,94.41,94.41]
[12218,12234,1,1.6549999999999999E-2,7.2500000000000004E-3,67.599999999999994,67.599999999999994]
[12218,12254,1,1.48E-3,6.5199999999999998E-3,63.58,63.58]
[12221,12234,1,3.48E-3,1.08E-3,84.3,84.3]
[12221,12243,1,9.2499999999999995E-3,2.8800000000000002E-3,84.3,84.3]
[12238,12280,1,3.0700000000000002E-2,1.1129999999999999E-2,74.900000000000006,74.900000000000006]
[12242,12269,1,1.3440000000000001E-2,4.3899999999999998E-3,83.8,83.8]
[12257,12258,1,4.4900000000000001E-3,5.6499999999999996E-3,24.71,24.71]
[12281,12136,1,9.7119999999999998E-2,2.3560000000000001E-2,94.4,94.4]
[12283,12292,1,1E-4,1E-4,170,170]
[12292,12294,1,5.0810000000000001E-2,1.2326999999999999E-2,79.400000000000006,79.400000000000006]
[12292,12295,1,5.0810000000000001E-2,1.2326999999999999E-2,79.400000000000006,79.400000000000006]
[12295,12144,1,9.8055000000000003E-2,2.3788E-2,79.400000000000006,79.400000000000006]
[12305,12177,1,7.7459E-2,2.0143999999999999E-2,94.4,94.4]
[12305,12285,1,0.199853,5.2215999999999999E-2,94.4,94.4]
[14002,1718,1,0.17293800000000001,5.5122999999999998E-2,58.6,58.6]
[14005,1447,1,7.4212E-2,2.1412E-2,83.8,83.8]
[14005,1449,1,0.12223199999999999,3.5265999999999999E-2,83.8,83.8]
[14011,1702,1,0.19859399999999999,6.2884999999999996E-2,58.6,58.6]
[22372,28371,1,0.26924999999999999,5.3699999999999998E-3,50,50]
[22372,28371,2,0.26924999999999999,5.3699999999999998E-3,50,50]
[24161,28161,1,0.26924999999999999,5.3699999999999998E-3,50,50]
[24161,28161,2,0.26924999999999999,5.4099999999999999E-3,50,50]
[24181,28181,1,0.21540000000000001,5.4099999999999999E-3,50,50]
[24181,28181,2,0.21540000000000001,5.5500000000000002E-3,50,50]
[27101,27171,1,4.2259999999999999E-2,9.3299999999999998E-3,266,266]
[27101,27321,1,6.6830000000000001E-2,1.3679999999999999E-2,266,266]
[27111,27351,1,8.1000000000000003E-2,2.7380000000000002E-2,133,133]
[27131,27411,1,7.0809999999999998E-2,2.1389999999999999E-2,133,133]
[27131,27411,2,7.0279999999999995E-2,2.384E-2,133,133]
[27131,27441,1,0.12758,2.674E-2,266,266]
[27161,24161,2,0.21199999999999999,4.8700000000000002E-3,50,50]
[27161,24161,1,0.21274999999999999,4.8599999999999997E-3,50,50]
[27161,27351,1,0.10879999999999999,3.313E-2,133,133]
[27161,27411,1,7.5759999999999994E-2,2.283E-2,133,133]
[27171,27321,1,9.3049999999999994E-2,3.1690000000000003E-2,133,133]
[27171,27371,1,7.9100000000000004E-2,1.8259999999999998E-2,266,266]
[27171,27371,2,7.9100000000000004E-2,1.8259999999999998E-2,266,266]
[27181,24181,1,0.1734,5.6699999999999997E-3,50,50]
[27181,24181,2,0.17380000000000001,5.7600000000000004E-3,50,50]
[27181,27211,1,4.5229999999999999E-2,1.4200000000000001E-2,133,133]
[27181,27321,1,0.12214999999999999,3.7330000000000002E-2,133,133]
[27181,27341,1,0.15384,3.9969999999999999E-2,133,133]
[27181,27431,1,0.17971999999999999,6.241E-2,133,133]
[27181,27431,2,0.17971999999999999,6.241E-2,133,133]
[27211,27341,1,0.11688,4.0230000000000002E-2,133,133]
[27281,27321,1,9.0305999999999997E-2,2.2423999999999999E-2,133,133]
[27281,27391,1,2.5690000000000001E-2,6.3810000000000004E-3,133,133]
[27301,27371,1,2.2110000000000001E-2,4.6100000000000004E-3,266,266]
[27301,27431,1,2.6100000000000002E-2,6.0800000000000003E-3,266,266]
[27321,27431,1,4.8579999999999998E-2,1.052E-2,266,266]
[27341,27401,1,0.13209000000000001,3.9719999999999998E-2,133,133]
[27341,27511,1,3.8719000000000003E-2,7.1539999999999998E-3,260,260]
[27351,27381,1,6.7780000000000007E-2,2.0969999999999999E-2,133,133]
[27361,27371,1,1.511E-2,3.4399999999999999E-3,266,266]
[27361,27481,1,6.7119999999999999E-2,1.031E-2,266,266]
[27371,22372,1,0.21274999999999999,4.8599999999999997E-3,50,50]
[27371,22372,2,0.21274999999999999,4.8599999999999997E-3,50,50]
[27371,27431,1,3.5999999999999997E-2,7.5100000000000002E-3,266,266]
[27371,27501,1,4.8920999999999999E-2,8.8310000000000003E-3,260,260]
[27381,27411,1,0.12099,4.0840000000000001E-2,133,133]
[27381,27501,1,3.79E-4,6.7999999999999999E-5,260,260]
[27391,27401,1,0.11362,3.4169999999999999E-2,133,133]
[27411,27441,1,8.7069999999999995E-2,2.928E-2,133,133]
[27421,27441,1,5.2749999999999998E-2,1.1860000000000001E-2,266,266]
[27421,27461,1,4.1529999999999997E-2,8.9800000000000001E-3,266,266]
[27431,27451,1,1.52E-2,5.4299999999999999E-3,133,133]
[27431,27451,2,1.52E-2,5.4299999999999999E-3,133,133]
[27431,27461,1,3.2710000000000003E-2,7.0699999999999999E-3,266,266]
[27441,27481,1,7.7200000000000003E-3,1.1900000000000001E-3,266,266]
[27461,27471,1,8.0820000000000003E-2,2.4340000000000001E-2,133,133]
[27491,27511,1,8.5142999999999996E-2,1.5730999999999998E-2,260,260]
[28161,27161,2,4.7359999999999999E-2,1.4E-3,156.30000000000001,156.30000000000001]
[28161,27161,1,4.7199999999999999E-2,1.4E-3,156.30000000000001,156.30000000000001]
[28161,28371,1,8.9289999999999994E-2,1.116E-2,374,374]
[28161,28371,2,8.9289999999999994E-2,1.116E-2,374,374]
[28161,29161,1,1.6930000000000001E-2,2.1199999999999999E-3,374,374]
[28161,29162,2,8.8500000000000002E-3,1.67E-3,491.6,491.6]
[28181,27181,1,3.8269999999999998E-2,9.2000000000000003E-4,156.30000000000001,156.30000000000001]
[28181,27181,2,3.8269999999999998E-2,9.3000000000000005E-4,156.30000000000001,156.30000000000001]
[28181,28371,1,8.7150000000000005E-2,1.09E-2,374,374]
[28181,28371,2,8.7150000000000005E-2,1.09E-2,374,374]
[28181,29181,1,5.2720000000000003E-2,1.155E-2,533.79999999999995,533.79999999999995]
[28181,29182,2,8.5070000000000007E-2,1.316E-2,374,374]
[28371,27371,1,4.7199999999999999E-2,1.4E-3,156.30000000000001,156.30000000000001]
[28371,27371,2,4.7199999999999999E-2,1.4E-3,156.30000000000001,156.30000000000001]
[50000,50050,1,3.7999999999999999E-2,7.0299999999999998E-3,459,459]
[50000,51150,1,1.959E-2,3.5000000000000001E-3,325,325]
[50000,51200,1,2.189E-2,3.5200000000000001E-3,173,173]
[50050,50054,1,6.0199999999999997E-2,0,110,110]
[50050,50100,1,6.9449999999999998E-3,1.2700000000000001E-3,400,400]
[50050,50900,1,4.0430000000000001E-2,7.0499999999999998E-3,465,465]
[50050,51450,10,0.132077,1.7436E-2,345,345]
[50054,50454,1,6.4670000000000005E-2,2.5999999999999999E-2,65,65]
[50054,50604,1,0.11632000000000001,4.2639999999999997E-2,65,65]
[50100,50103,1,2.7599999999999999E-3,5.0000000000000001E-4,60,60]
[50100,50200,1,9.0799999999999995E-3,1.66E-3,350,350]
[50150,50800,1,4.1327999999999997E-2,6.2319999999999997E-3,400,400]
[50200,50150,1,4.2379999999999996E-3,6.3900000000000003E-4,478,478]
[50200,50250,1,3.3869999999999997E-2,5.9500000000000004E-3,370,370]
[50200,50900,1,5.1339999999999997E-2,9.5499999999999995E-3,390,390]
[50200,53050,1,0.10746,2.0070000000000001E-2,389,389]
[50250,50253,1,2.1800000000000001E-3,3.3E-4,149,149]
[50250,50300,1,7.8100000000000001E-3,1.39E-3,240,240]
[50300,51150,1,1.736E-2,2.8600000000000001E-3,300,300]
[50350,50354,1,0.06,0,110,110]
[50350,50900,1,5.3400000000000001E-3,9.3000000000000005E-4,547,547]
[50350,53200,1,2.6620000000000001E-2,4.64E-3,540,540]
[50354,50404,1,1.542E-2,2.3600000000000001E-3,115,115]
[50454,50499,1,8.9899999999999997E-3,3.6099999999999999E-3,65,65]
[50454,50554,1,8.6699999999999999E-2,3.5540000000000002E-2,65,65]
[50504,50604,1,7.6340000000000005E-2,2.657E-2,65,65]
[50650,50750,1,1.541E-2,2.33E-3,400,400]
[50650,50800,1,1.238E-2,1.8699999999999999E-3,400,400]
[50700,50750,1,5.4099999999999999E-3,8.1999999999999998E-4,400,400]
[50700,50950,1,5.8399999999999997E-3,8.8000000000000003E-4,478,478]
[50800,51300,1,1.2239999999999999E-2,1.531E-3,478,478]
[50900,54750,1,5.7362999999999997E-2,1.0629E-2,389,389]
[50950,53150,1,2.8199999999999999E-2,4.2199999999999998E-3,478,478]
[50950,54500,1,5.178E-2,5.5370000000000003E-3,518,518]
[51200,51250,1,2.6159999999999999E-2,3.9899999999999996E-3,173,173]
[51300,53200,1,3.2190000000000003E-2,5.0990000000000002E-3,464,464]
[51450,54000,10,3.6027999999999998E-2,4.7840000000000001E-3,345,345]
[53000,53050,1,5.0699999999999999E-3,9.3999999999999997E-4,389,389]
[53000,53050,2,5.7099999999999998E-3,8.4999999999999995E-4,380,380]
[53000,53100,1,3.4299999999999999E-3,5.5999999999999995E-4,380,380]
[53000,53100,2,3.32E-3,5.4000000000000001E-4,380,380]
[53004,53000,1,6.5799999999999997E-2,0,110,110]
[53004,53000,2,7.1999999999999995E-2,0,100,100]
[53004,53000,3,7.1999999999999995E-2,0,100,100]
[53004,53000,4,7.2700000000000001E-2,0,100,100]
[53004,53007,1,1.23E-3,2.9E-4,120,120]
[53004,53204,1,5.4129999999999998E-2,1.278E-2,110,110]
[53004,53304,1,3.8390000000000001E-2,8.8699999999999994E-3,110,110]
[53004,53354,1,8.8599999999999998E-3,2.0999999999999999E-3,190,190]
[53004,53454,1,2.9579999999999999E-2,6.8199999999999997E-3,190,190]
[53004,53604,1,1.8440000000000002E-2,4.3499999999999997E-3,110,110]
[53004,53654,1,2.0650000000000002E-2,4.8799999999999998E-3,110,110]
[53050,53150,1,1.7999999999999999E-2,2.7399999999999998E-3,380,380]
[53050,53150,2,1.805E-2,2.7399999999999998E-3,380,380]
[53050,53900,1,3.0589999999999999E-2,4.6899999999999997E-3,343,343]
[53050,53900,2,3.041E-2,4.1000000000000003E-3,343,343]
[53150,53550,1,1.9400000000000001E-2,2.457E-3,350,350]
[53150,54200,1,5.45E-3,8.2399999999999997E-4,348,348]
[53154,53150,3,5.8599999999999999E-2,0,110,110]
[53154,53150,1,6.0199999999999997E-2,0,110,110]
[53154,53150,2,7.17E-2,0,100,100]
[53154,53654,1,1.325E-2,3.14E-3,190,190]
[53154,53654,2,1.325E-2,3.14E-3,190,190]
[53154,53704,1,1.7670000000000002E-2,4.1799999999999997E-3,190,190]
[53154,58004,1,8.9539999999999995E-2,2.1180000000000001E-2,190,190]
[53200,53050,1,1.2529999999999999E-2,2.1800000000000001E-3,655,655]
[53200,53204,1,0.16439999999999999,0,110,110]
[53200,53204,2,0.16439999999999999,0,110,110]
[53204,53254,1,4.7579999999999997E-2,1.8919999999999999E-2,65,65]
[53204,53304,1,4.6339999999999999E-2,1.1140000000000001E-2,110,110]
[53204,54104,1,4.564E-2,9.9900000000000006E-3,160,160]
[53254,54104,1,3.7789999999999997E-2,8.7600000000000004E-3,104,104]
[53354,53404,1,4.0910000000000002E-2,9.7199999999999995E-3,190,190]
[53404,53854,1,8.3339999999999997E-2,1.9743E-2,190,190]
[53454,53754,1,8.3760000000000001E-2,1.7919999999999998E-2,190,190]
[53550,54050,1,1.3651999999999999E-2,1.3940000000000001E-3,382,382]
[53604,53654,1,1.6549999999999999E-2,3.9100000000000003E-3,110,110]
[53704,58004,1,8.7080000000000005E-2,2.061E-2,190,190]
[53754,53756,1,3.5999999999999999E-3,8.0999999999999996E-4,40,40]
[53754,53854,1,2.0910000000000002E-2,4.9500000000000004E-3,190,190]
[53754,58104,1,8.1479999999999997E-2,1.2840000000000001E-2,240,240]
[53850,54050,1,1.4017999999999999E-2,2.1090000000000002E-3,345,345]
[53850,56000,1,5.11E-2,9.3699999999999999E-3,200,200]
[53850,58450,1,2.3834999999999999E-2,2.5579999999999999E-3,518,518]
[53854,53850,2,6.5500000000000003E-2,0,110,110]
[53854,53850,1,0.1515,0,110,110]
[53854,58004,1,2.75E-2,3.3999999999999998E-3,230,230]
[53900,54000,1,3.9129999999999998E-2,5.9899999999999997E-3,343,343]
[53900,54250,1,3.0589999999999999E-2,4.6800000000000001E-3,343,343]
[54000,54250,1,8.8599999999999998E-3,1.3600000000000001E-3,343,343]
[54000,56100,10,0.11821,1.8280000000000001E-2,338,338]
[54154,58004,1,2.0369999999999999E-2,4.4999999999999997E-3,110,110]
[54200,53550,1,1.3899999999999999E-2,1.7700000000000001E-3,348,348]
[54500,58200,1,1.4394000000000001E-2,1.7639999999999999E-3,513,513]
[54750,53000,1,1.3601E-2,2.4719999999999998E-3,389,389]
[56000,56100,1,5.0639999999999998E-2,9.3299999999999998E-3,200,200]
[56050,56100,1,4.4330000000000001E-2,8.1700000000000002E-3,259,259]
[56050,56100,10,4.6370000000000001E-2,7.1700000000000002E-3,338,338]
[58004,58054,1,2.368E-2,5.62E-3,190,190]
[58004,58104,1,3.7769999999999998E-2,8.94E-3,190,190]
[58054,58104,1,1.405E-2,3.3400000000000001E-3,190,190]
[58150,58200,1,2.8657999999999999E-2,4.0949999999999997E-3,478,478]
[58150,58300,1,3.7145999999999998E-2,4.4539999999999996E-3,518,518]
[58150,58500,1,4.2779999999999997E-3,5.2099999999999998E-4,573,573]
[58200,58204,1,9.4600000000000004E-2,0,110,110]
[58300,58304,1,9.4600000000000004E-2,0,110,110]
[58300,58350,1,3.9579999999999997E-2,7.1799999999999998E-3,259,259]
[58304,58300,2,0.1535,0,110,110]
[58450,58500,1,1.2829999999999999E-2,1.41E-3,562,562]
[58500,58300,1,4.0239999999999998E-2,4.2900000000000004E-3,478,478]

{"sheet":"mct","index":3,"n_rows":13,"n_cols":3,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
["inter","sentido","mct"]
["GUAESA","ns",250]
["GUAESA","sn",160]
["GUAHON","ns",70]
["GUAHON","sn",100]
["ESAHON","ns",70]
["ESAHON","sn",130]
["HONNIC","ns",50]
["HONNIC","sn",50]
["NICCRC","ns",80]
["NICCRC","sn",50]
["CRCPAN","ns",140]
["CRCPAN","sn",80]